Supporting Information for:

Sometimes pulses just have to be perfect – an example based on the measurement of amide proton transverse relaxation rates in proteins

Supplementary Figure 1. Histograms of fitted R2 values (R2,fit) obtained by iteratively fitting randomly sampled experimental data.  Eight time points were randomly sampled without replacement from the experimental decay curves in Figure 1. The process was repeated 50,000 times and the histogram of the fitted R2 values (R2,fit) is plotted.

Supplementary Figure 2. Comparison between experimental and simulated 1HN R2 profiles with 15N 180° rectangular pulses. (A) (top) Experimentally measured decay profiles of the 1HN transverse magnetization of K5 (left), D51 (center), and G13 (right) in a [U-15N,2H]-labeled protein L sample measured with rectangular 15N inversion pulses, 23.5 T, 25 oC. Points are experimental data while solid lines are the best fits to an exponential decay function. See Fig. 1B legend in the main text for the details. (bottom) Decay profiles of 1HN magnetization simulated using the 15N and 1HN offsets of K5 (left), D51 (center), and G13 (right). The simulations were based on the scheme shown in Fig. 1A of the main text, with magnetization evolving from Hx (at the start of the sequence) to 2HyNz (at the end) by setting δ to 4.8 ms (~ 12JHN). In the simulations, the 1HN carrier was set to be on-resonance with water (~4.70 ppm), and the 1HN-selective REBURP pulse (1.36 ms, maximum B1 field strength of 4.6 kHz at 23.5 T) was applied at +3250 Hz off-resonance (centered at 7.95 ppm) by linearly shifting the pulse phase. 15N 180° rectangular pulses were applied with an rf field strength of 5.95 kHz (90° pulse length of 42 μs). Relaxation rates were calculated as described in Materials and Methods of the main text assuming an isotropic tumbling time of 5 ns. Per-residue contributions from external proton spins and amide-water exchange were included by an additional relaxation term, λH, which was added to the calculated auto-relaxation rates for transverse 1H components (Hx, Hy, 2HxNz, 2HyNz, 2HxNx, 2HxNy, 2HyNx, and 2HyNy) to obtain agreement between experimentally measured and fitted rates from simulated decay profiles. The λH values were set to 2.4, 8.9, and 4.7 s-1 for K5, D51, and G13, respectively.