Supporting Information for

A 13Cβ CEST experiment with improved sensitivity for the characterization of protein excited states

| Expt | Temp (oC) | [pro-IL-18] (mM) | B0 (MHz) | CEST relaxation time (ms) | Weak B1 field (Hz) | Frequency range (ppm) |
| --- | --- | --- | --- | --- | --- | --- |
| Amide-based (WT) | 40 | 1.1 | 600 | 200 | 27.0 | 24.7 – 46.7 (54 values) |
| Amide-based (Q54V) | 25 | 1.2 | 600 | 200 | 27.0 | 24.7 – 46.7 (54 values) |
| Non-CT Cβ-Hβ (Val) | 25 | 1.2 | 800 | 350 | 27.2 | 29.5 – 37.0 (32 values) |
| Non-CT Cβ-Hβ (Ile) | 25 | 1.2 | 800 | 350 | 27.2 | 37.3 – 43.3 (26 values) |
| Non-CT Cβ-Hβ (Leu) | 25 | 1.2 | 800 | 300 | 27.2 | 41.5 – 49.5 (28 values) |

Table S1: Acquisition parameters of CEST datasets.

Wavemaker files for generation of adiabatic 13C decoupling waveforms

## Wavemaker parameter file.

UC_Val:

cawurst_hd(7 ppm, 5.5 ms, 61.5 ppm; H2L, Q=1.2, sucyc = p5, PA=0.5)

cawurst_hd(6 ppm, 5.5 ms, 21.0 ppm; L2H, Q=1.2, sucyc = p5, PA=0.5)

p90 = 12.18

pl = -22.38 dB

ofs = 33 ppm

BF = 201.16

ss = 10 us

BS = 0

;

## Wavemaker parameter file.

UC_Ile:

cawurst_hd(12 ppm, 5.5 ms, 58.6 ppm; H2L, Q=1.2, sucyc = p5, PA=0.5)

cawurst_hd(12 ppm, 5.5 ms, 22.0 ppm; L2H, Q=1.2, sucyc = p5, PA=0.5)

p90 = 12.27

pl = -22.38 dB

ofs = 40.3 ppm

BF = 201.16

ss = 10 us

BS = 0

;

## Wavemaker parameter file.

UC_CBLeu:

cawurst_hd(4.34 ppm, 5.5 ms, 53.17 ppm; H2L, Q=1.2, sucyc = p5, PA=0.5)

cawurst_hd(9 ppm, 5.5 ms, 25.5 ppm; L2H, Q=1.2, sucyc = p5, PA=0.5)

p90 = 12.20

pl = -22.38 dB

ofs = 45.5 ppm

BF = 201.16

ss = 10 us

BS = 0

;